## Summary
| Job Details | Hazards, Precautions taken & PPE | Precations Taken | PPE Is required ? | Emergency Requirement | Gas Testing | Safety Consideration to be checked at site
1. General Work permit | Yes | Yes | Yes | Yes | No | No | Yes
2. Night work permit | Yes | Yes | Yes | Yes | No | No | Yes
3. Concrete work permit | Yes | Yes | Yes | Yes | No | No | Yes
4. De-shuttering work permit | Yes | Yes | Yes | Yes | No | No | Yes
5. Hot work permit | Yes | Yes | Yes | Yes | No | No | Yes
6. Work at height permit | Yes | Yes | Yes | Yes | No | No | Yes
7. Lifting work permit | Yes | Yes | Yes | Yes | No | No | Yes
8. Confined space work permit | Yes | Yes | Yes | Yes | Yes | Yes | Yes
9. Excavation work permit | Yes | Yes | Yes | Yes | No | No | Yes
10. Blasting work permit | Yes | Yes | Yes | Yes | No | No | Yes
11. Electrical work permit | Yes | Yes | Yes | Yes | No | No | Yes
Job Details | Name of Project | the Hazards Sheet | the Precautions Taken Sheet | PPE Required Sheet | Emergency Requirement | Gas Testing | Safety Considerations
<<Same for all sheets>> | Name of Client / Contractor
Work Location
Scope of Work
Work Permit Start date & time
Work permit end date & time
No of Workers
Tools / Equipment to be used
Description of work
Reference Permit No

## Hazards
Hazards Precautions Taken
1. General Work | 2. Night Work | 3. Concrete Work | 4. De-shuttering work permit | 5. Hot Work | 6. Work at Height | 7. Lifting Work | 8. Confined Space Entry | 9. Excavation | 10. Blasting | 11. Electrical
Slip, Trip & Fall | Falling Objects | Contact with Eyes | Falling Material | Primary Hazards | Fatigue | Crane Collapse | Oxygen Deficiency | Cave-In's | Fly Rock | Primary Hazards
Dust | Hardhacks | Skin Contact | Fall of Person | Electrical Shock | Falling Objects | Falling Objects | Oxygen Enrichment | Falls into Excavation | Dust | Electrical Shock
Flying Objects | Fatigue | Inhalation | Unsafe Working Platform | Carbon Fumes | Fall of Person | Load Fail | Arcing / Flash | Soil Contamination | Fumes | Arcing
Sharp Objects | Low Visibility | Electrical Shock | Improper Handling of Material | Arc Flash | Unsafe Working Platform | Sling Failure | Elecrical Shock | Person Falls | Toxic Gases | Arc Flash
Chemical Spillage | Sress | Hit by Vehicle | Scaffold Collapse | Burns | Improper Handling of Materials | Overloading | Fire | Electrical Shock | Miss-Fires | Fire
| Drowsy | Scaffold Collapse | Slip, Trip & Fall | Fire /Explosion | Scaffol Collapse | High Wind | Explosion | Hit by Vehicle | Explosion | Explosion
| Improper Monitoring | Slip, Trip & Fall | Poor Housekeeping | Secondary Hazards | Slip, Trip & Fall | Bad Weather | Toxic Gases / Fumes | Dust | Fire | Secondary Hazards
| Person Falls | Hit by Boom |  | Person Fall | Poor Housekeeping | Hit by Load | Person Fall | Damage to Utilities | Vibration | Person Fall
Other Hazards | Depression | Other Hazards | Other Hazards | Equipment Fall | Other Hazards | Other Hazards | Equipment fall | Water Ingression | Noise | Equipment Fall
| Other Hazards |  |  | Other Hazards |  |  | Other hazards | Other Hazards | Other Hazards | Other Hazards

## Precautions Taken
Precautions Taken
1. General Work | 2. Night Work | 3.Concrete Work | 4. De-shuttering work permit | 5. Hot Work | 6. Work at Height | 7. Lifting Works | 8. Confined Space Entry | 9. Excavation Work | 10. Blasting | 11. Electrical Work
LOTO Applied | Work Area Lighting | Good Access / Egress | Area Barricading | Isolation | LOTO Applied | Swing Area Barricading | ISOLATION | Good Acess / Egress | Licensed Blaster | ISOLATION
Good Access / Egress | Safe Routes | Scaffolding working / Platform | Safe working platform | LOTO Applied | Area Barricading | Follow SWL of Crane / Sling | LOTO Applied | Maintained Slope Angle | Blasting NOC | LOTO Applied
Good Housekeeping | Safe Access / Egress | Adequate illumination | Adequate illumination | Isolation Switch Available | Safe Working Platform | Adequate Illuminiation | Ventilation Provided | Edge Barricading | Blsting Siren | Isolation Switch available
Adequate illumination | Separate Vehicle & Worker Path ways | HIRA Undertaken | HIRA Undertaken | Cordoned Area | Adequate Illumination | HIRA Undertaken | Toolbox Talk | HiRA Undertaken | Daily Toolbox Meetings | Discharge Rods Available
HIRA Undertaken | HIRA Undertaken | Good Housekeeping | Good Housekeeping | HIRA Undertaken | HIRA Undertaken | Good Housekeeping | HIRA Undertaken | Good Housekeeping | HIRA Undertaken | HIRA undertaken
Toolbox Talks | Signage's Provided | Ladder Provided | Provide Safety Nets | Signage's Provided | Good Housekeeping | Good Sling Angle | Signage's Provided | Ladder Provided | Signage's Provided | Signage's Provided
Standard Tools | SOP | Mobile Scaffolding | Toolbox Talks | SOP | Provided Safety Nets | Toolbox Talks | SOP | Deep-Excavation Signage's | Blasting SOP | SOP
Awareness on expected emergencies ? | Reflection Vests |  | Proper Supervision | Grounding Provided | Toolbox Talks | Proper Supervision | Illumination Provided | Toolbox Meetings | Controlled Blasting | Earth Pits Provided
| Trainings |  | Safe Access / Egress | ELCB / RCCB Provided | Proper Supervision | Safe Access / Egress | ELCB / RCCB Provided | Awareness on expected emergencies ? | Separate Containers for Explosive & ED's | ELCB / RCCB Provided
| Blinkers |  | Awareness on expected emergencies ? | Awareness on expected emergencies ? | Safe Access / Egress |  | Entry Log Register | Other Precautions | Awareness on expected emergencies ? | Rubber Mats Provided
Other Precautions | Awareness on expected emergencies ? |  | Other Precautions |  | Awareness on expected emergencies ? | Awareness on expected emergencies ? | Awareness on expected emergencies ? |  | Other Precautions | Awareness on expected emergencies ?
| Other Precautions |  |  |  | Other Precautions | Other Precautions | Other Precautions |  |  | Other Precautions
Toolbox Talks - requires additional fields on Who the toolbox is given to and by who?

## Job Specific PPEs
Job Specific PPEs
1. Genearl Work | 2. Niight Work | 3.Concrete Work | 4. De-shuttering work permit | 5. Hot Work | 6. Work at Height | 7. Lifting Works | 8. Confined Space Entry | 9. Excavation | 10. Blasting | 11. Electrical Work
Safety Helmet | Safety Helmet | Safety Helmet | Safety Helmet | Safety Helmet | Safety Helmet | Safety Helmet | Safety Helmet | Safety Helmet | Safety Helmet | Safety Helmet
Safety Shoes | Safety Shoes | Safety Shoes | Safety Shoes | Safety Shoes | Safety Shoes | Safety Shoes | Safety Shoes | Safety Shoes | Safety Shoes | Safety Shoes
Cover All | Full Body Harness | Full Body Harness | Full Body Harness | Full Body Harness | Full Body Harness | Hand Gloves | Full Body Harness | H.V. Test | Ear Plugs / Muffs | Full Body Harness
Cotton Hand Gloves | Cover All | Cover All | Cover All | Cover All | Cover All | Cover All | Cover All | Gum Boots | Reflective Vest | Cover All
Rubber Hand Gloves | High Visibility vest | Rubber Hand Gloves | Cotton Hand Gloves | Welding Face Shield | Cotton Hand Gloves | Other PPE's | Filterned Mask | Ankle Press Button shoes | Hand Gloves | Insulated Face Shield
Gum Boots |  | Gum Boots | Gum Boots | Leather Hand Gloves | Fall Arrestor |  | Safety Jacket | Goggles | Nose Mask | Insulated Hand Gloves
Goggles |  | Goggles | Goggles | Leather Apron | Goggles |  | Other PPE's | Other PPE's | Goggles | Insulated Boots
Face Shield |  | Face Shield | Face Shield | UV Protection Shield | Face Shield |  |  |  | Other PPEs | UV Protection Shield
Other PPEs | Other PPEs | Other PPEs | Other PPEs | Other PPE's | Other PPE's |  |  |  |  | Other PPEs

## Emergency
Emergency Requirements
1. General Work | 2. Night Work | 3.Concrete Work | 4. De-shuttering work permit | 5. Hot Work | 6. Work at Height | 7. Lifting Work | 8. Confined Space Entry
None | None | None | None | None | None | None | Tripod
First Aider
Emergency Vehicle
Rescue Available
Resuscitator
Stretcher / Wheelchair
Multi Gas Detector
Other Requirements

## Gas Testing
Gas Testing
1. General Work | 2. Night Work | 3.Concrete Work | 4. De-shuttering work permit | 5. Hot Work | 6. Work at Height | 7. Lifting Work | 8. Confined Space Entry
None | None | None | None | None | None | None | Percentage of Oxygen Reading (% O2)
< 19.5 % - Oxygen Deficiency
> 22.2% - Oxygen Enrichment
Other Requirements

## Safety Considerations
Safety Considerations to be checked at site
1. General Work | 2. Night Work | 3.Concrete Work | 4. De-shuttering work permit | 5. Hot Work | 6. Work at Height | 7. Lifting Work | 8. Confined Space Entry | 9. Excavation | 10. Blasting | 11. Electrical
Make sure proper PPE to be provided | Is sufficient Illumination to be provided | Required fall protection systems in place | Workers must be provided with safe access to the work | Has the area at the work location been cleared of all the combustible materials & any other lubricants etc? | Ensure to follow all the safety guidelines for height work | Cranes/Hydra crane should not be used for side pulls. Only freely suspended load may be side pulled | Was oxygen content between 19.5 percent and 23.5 percent? | Make sure the excavated area shall be barricaded and place appropriate signage near the excavation. | The blaster must possess a valid license. | Has the Electricity Supply been turned off?
Ensure Safe access & Egress (Ladders) Provided. | Is security notified of night work | workers using required fall protection systems | Acrophobia test of worker (Height Phobia etc.) | Has a flashback arrestor at both sides (cylinder & torch) been provided to the gas-cutting set? | Ensure to protect below the ‘work at height’ area | Is Certified rigger medically fit & sufficiently trained | Did you survey the surrounding area to show it to be free of hazards such as drifting vapours from tanks, piping, or sewers? | Excavation shall be carried out under the guidance of a competent person as per engineers drawing | Explosive to be transported in road, in an Explosive van. | Have the relevant departments been advised of the electrical isolation?
Make sure work force to use right tools for the right job. | Is medical aid resources available | Hoisting and rigging operations performed in a safe manner | De-shuttering materials should be kept away properly in working areas | Have Suitable Fire Extinguishers/sand buckets been kept handy at the work site? | Make sure to use Appropriate PPE | Make sure operator must avoid carrying loads over people. | Check for any unsafe electrical conditions. | Job specific training shall be carried out for the work force involved in the excavation activity by site safety person. | Explosive should not be carried in the same vehicle with detonators. | Has the Fire Sprinkler System been left in service?
Ensure all the floor openings to be closed. | Availability & Use of PPE’s | Guardrails in place and secure | Do not overload the working platform with materials. | Have Welding Screen (Yellow) / wet gunny bag/fire blanket been used to protect against sparks? | Make sure to provide Training to work force | Make sure hook have safety latch. The load is well balanced. Avoid tip loading, and loading on hook latch | Is all portable electrical equipment used inside confined spaces either grounded and insulated, or equipped with RCCB (30 ma)? | Excavated soil shall be placed 2m away from the excavation pit | Vehicle should be equipped with a non-sparking metal or wooden floor. | Flammable / Combustible substances been removed from the area?
If scaffold used, condition of scaffolding & provision of tags to be ensured | Proper Housekeeping to be done on daily basis | Rebar ends capped to prevent impaling. | Ensure adequate supervision and experienced carpenters for safe works | Vertical clearance (at least 2 meters above the platform) (Supervision should be provided if sufficient clearance is not available) | Fall arrest system to be provided for the suspended work platform | Special permission to be obtained from site in charge after considering following guidelines for travelling with suspended load (Try to avoid By travelling with suspended load) | Have the facility emergency and rescue services been notified that a confined space entry is about to be made? | Communication between operator and flagman shall be visible and audible with adequate lighting during night work | Do not use damaged/deteriorated explosives and accessories. | Are Fire Extinguishers required?
Extended work platform provided, if applicable | Any other requirement (If Yes, please specify): | Wearing safety glasses or goggles when pouring concrete | Ensure proper scaffolding working platform is used | Is barricading being provided below while doing work at height? | Make sure to provide signboards | Use tested lifting tool-tackles of appropriate capacity (sling / synthetic belt / D-shackle / tailing hook etc.) | Trained & experienced work force to be deployed. | All the employees, operators and workforce shall use PPE | No holes should be loaded except those that are to be fired in the next round of blasting. Holes loaded during one shift should be fired on the same shift. | Is a Fire Blanket Required?
Provide sufficient railing s. | Emergency exit are available, Emergency vehicle and First-aid provider shall be assured during the work | Concrete washout water, collection, containment, disposal | The de-Shuttering area should be barricaded before starting work | Is the gas-cutting cylinder checked for any leakages? | Make sure to do Housekeeping & Provide TBT to entire Workforce | Ensure that the deployed operator is well trained, licensed, experienced, and competent to operate the particular Hydra crane to which they are assigned on the particular job involved. | Continues supervision must be required. | Any other requirement (If Yes, please specify): | Post guards with red flags at a safe distance around the site to prevent persons approaching the danger area inadvertently while the shots are being fired. | Is a Voltage Detection Instrument required?
Visual inspection of tools & ”Fit for Use” tagging, as applicable | Main Isolation Switch location is known to All | All workers have received basic Hazard Communication training | Inspection of working scaffolds, ladders, ramps and crossings | Are the gas cylinders secured in a trolley using chains? | Make sure to use proper handling of tools | Do not use slings, eye bolts, shackles, or hooks that have been cut, welded, or brazed. | Is all rescue equipment called out in the safe entry procedure available outside the confined space? | Emergency exit are available. Emergency vehicle and First-aid provider shall be assured during the work. | Ensure to handle miss-fires by authorised blaster. | Is Earthing/grounding Required & Provided
Fencing of down area / Ground area done | Use of Full body harness with double lanyard & life line or anchor point (while doing hot work at height). | MSDSs are available on the site for cement and related products used | Maintenance of good housekeeping around the working area and Access | Do all workers involved in hot work have proper training on safety procedures and equipment use? | Don’t keep loose materials on the working platform | Initially lift the load only a few inches to test the rigging and balance Loads should be well secured. | Is either natural or mechanical ventilation provided prior to confined space entry? |  | Carryout blasting is in day light hours only. | Are Circuit Breakers required?
Ensure site supervisor to monitor Housekeeping & Proper housekeeping to be done. |  | ELCB/RCCB provided for Needle Vibrators | Avoid throwing shuttering materials from a height | Do welding machines have ELCB/RCCB and proper earthing? |  | While any employee is touching the load or hook, there shall be no Hoisting, lowering, or traveling | If the confined space is below the ground and near areas where motor vehicles will be operating, is it possible for vehicle exhaust or carbon monoxide to enter the space? |  | All Blasting’s should be controlled/muffed blasting’s | Are Caution / Danger Signs required?
Is correct size tools used for the job? |  | Proper Edge protection provided in concrete area | Using a Pulley & rope system to lower the de-shuttering materials | Availability and use of PPEs (Mandatory PPE + Leather Apron, Welding Face Shield, Leather Hand Gloves) |  | when the load or hook approaches near or over persons, the warning signal shall be sounded | Provide safe access to enter & exit. |  |  | Is Electrical Safety Matting required?
Emergency vehicle and First-aid provider shall be assured during the work. Shock Treatment chart is available and is understood through TBT |  | All vibrators/lights electrical cables laid above 7’ (feet) height | Guarding of peripheral edges and floor openings | Use of Full body harness with double lanyard & lifeline or anchor point (while doing hot work at height). |  | Make sure to complete the entire lifting operations on during the day light only. If at all to be carried during night hours ensure to provide sufficient lighting. | Is the standby employee appropriately trained and equipped to handle an emergency? |  |  | Are Electrical Insulating Gloves required?
|  | Proper Access/egress provided in concrete pour area | Safety training of workmen involved in formwork | Any other requirement (If Yes, please specify): |  | Make sure that no worker or any person is allowed to stay at lifting area. Avoid unauthorized entry. (Like Cars, Two wheelers, & pedestrians) | Are confined space entrants wearing proper personal protective equipment (i.e., hardhats, boots, etc.)? |  |  | Have the Electrical Insulating Gloves been Air Tested prior to use?
|  | Is Proper Bracing provide for slab supporting props/Posts | Removal of all unused and hanging forms, loose materials, etc. | Emergency exits are available, and Emergency vehicle and First-aid providers shall be assured during the work | [5 empty] | Has Lock Out Tag Out been undertaken?
|  | Is Eye Wash area provided near to concrete poring area | De-shuttering columns after the development of adequate strength in concrete | The Main Isolation Switch location is known to All | [5 empty] | Is Arc Flash PPE Required(Boots /Overalls/Gloves/Goggles/ Safety Visor
|  | Verification of Pumping equipment’s are inspected prior to start | Construction loads not placed on the freshly cast slab while removal of formwork | Shock Treatment chart is available and is understood through TBT | [5 empty] | Is a Standby Person present - during Live Electrical Test Work?
HIRA of electrical work to be undertaken.
Is Rescue is available..?